## coolers
e-Bubble Chamber |  | [Equipment for cryogenic tests (items, specification, quantity, venders, quotation, etc)]
Items | Instruments | Vender | Address | Model | Specification | Description | Quant. | Unit price | Price
1 | Cryostat | Janis Research | 2 Jewwl Drivw | 16 CNDT |  |  | 1 | 45000 | 45000
|  | Company | POBox 686
Wilmington, MA 01187
Tel: 978-657-8750
2 | Lhe Dewar | Chart | 3505 Country Road | Ultra Dewar 250 | 250L/285L |  | 1 | 5548 | 5548
|  | Industries Inc. | 42 West, Burnsville |  | Loss: 1.0%
|  | Tech Air Co. | MN 55306-3803 |  | Weight: 152kg
|  |  | Tel: 800-400-4683 |  | Size: 32"- 69.4"
3 | LN2 Dewar | Chart | sales representative |  | 250L |  | 1 | 1910 | 1910
|  | Industries Inc. | Tel: 800-949-5157 |  | SS 1.5" neck
|  | Tech Air Co. | Tel: 203-737-8983 |  | Loss: 0.7%
|  |  | marilyn@techair.com |  | Weight: 140 kg
4 | Mechanical pump | Alcatel | 1848 Adams Way | AV-UM2021SL | Rotary valve pump | Two stage | 1 | 2371 | 2371
|  |  | Jamison, PA 18929 | Alcatel 2021 SD | Pumping: 11.8CFM | 115/230 V
|  |  | Tel: 215-343-9470 |  | Final press:10-4Torr
|  |  | Fax: 215-343-9687 |  | DN 25 KF
5 | Turbo-mole pump | Pfeiffer Vacuum | 24 Trafalgar Square | TSU071 | Turbomolecular | with G20DUO10 | 1 | 6840 | 6840
|  |  | Nashua, NH 03063 |  | pumping station | rotary vane pump
|  |  | Tel: 603-578-6500 |  | Pumping: 60 l/s | DN 63 CF-F
|  |  | Fax: 603-578-6550 |  | Final press:10-9Torr
6 | Vacuum gauge | Varian Vacuum | 121 Hartwell Anenue | Thermocouple | 10-3~2 Torr |  | 2 | 42.14 | 84.28
|  | Technologies | Lexington, MA 02421 | F0472301 | 1/8 NPT male
Tel: 781-861-7200
Tel: 800-882-7426
| Cable |  |  | L64752010 | Dual TC, 10 ft. |  | 1 | 90.3 | 90.3
7 | Vacuum gauge | Varian Vacuum | same as above | ConvecTorr | 10-4~760 Torr |  | 1 | 85.14 | 85.14
|  |  |  | L9090301 | 1/8" NPT male
| Cable |  |  | L91223010 | Convector, 10ft. |  | 1 | 40.42 | 40.42
8 | Vacuum gauge | Varian Vacuum | same as above | Ionization 571 | 2×10-9~10-3 Torr |  | 2 | 190 | 380
|  |  |  | K2471306 | NW25 KF
| Cable |  |  | L64553010 | B/A ion gauge, 10ft. |  | 1 | 90.3 | 90.3
9 | Vacuum control | Varian Vacuum | same as above | Multi-Gauge | Basic unit+3 Board |  | 1 | 1806 | 1806
L8350301
10 | Pressure gauge | Omega | One Omega Drive | PGC-25L-160 | 0~160 psig | 1/4" NTP male | 2 | 20 | 40
|  | Engineering, Inc | Stamford, CT 06907 |  | accurary: 3-2-3%
Tel: 800-848-4286
Fax: 203-359-7700
11 | Pressure sensors | Omega | Same as above | PX302-050AV | 0-50 psia | 1/4 NPT | 2 | 185 | 370
Enigneering, Inc
12 | Strain Gage Meter | Omega | Same as above | DP41-S-S2-GN | with RS-232 |  | 1 | 655 | 655
Enigneering, Inc
13 | RS-232 cable | Omega | Same as above | DP40-9SC2 | 9 Pin serial |  | 1 | 30 | 30
Enigneering, Inc
14 | Compound | LDS Vacuum | 975 Sunshine lane | NW25-100-CG | 30" Hg, 0-30 psi | 1/4" NPT male | 2 | 96 | 192
| Pressure/vacuum | Products, Inc. | Altamonte Spring
| Gauge |  | FL 32714
Tel: 407-862-4643
Fax: 407-862-8723
15 | Flow meter | Omega | same as above | FL-115 | 0~1 l/s | 1/2" NPT male | 1 | 285 | 285
|  | Engineering, Inc | flow@omega.com |  | Shield rotameter | 50 psig Max
16 | Heater | Omega | same as above | KHLV-101-P | 1"×1", 5W/in2 |  | 2 | 25.7 | 102.8
|  | Engineering, Inc | Heater@omega.com | KHLV-0502-P | 0.5"×2", 5W/in2 |  | 2 | 25.7
17 | Relief valve | Kinequip Inc. | 365 Old Niagara | D520 T1-4M -150 | 150 psi | 1/2" NPT male | 2 | 115 | 230
|  |  | Falls Blvd.NY 14228 |  |  | input port
Tel: 716-694-5000
Fax: 716-694-5097
18 | Relief valve | Generant | 1865-T Route 23 | VRV-500B-V30 | 30 psi | 1/2" NPT Male | 2 | 30 | 60
|  |  | P. P. Box 768 |  |  | Brass
|  |  | Butler, NJ 07405 | VRV-250B-V4 | 4 psi | 1/4" NPT Male | 4 | 26 | 104
Tel: 973-283-0153
Fax: 973-838-4888
19 | Check valve | Generant | same as above | ICR-250B-V30 | 0.15-0.3 psi | 1/4" NPT Male | 2 | 20 | 40
Brass
20 | Vacuum valve | Kurt. J. Lesker | 1515 Worthington Ave. | QF 40 | SL0150MVQF | Leak <10-9 mbar | 1 | 330 | 330
|  |  | Clairton, PA 15025 | QF 25 | SL0100MVQF |  | 1 | 310 | 310
|  |  | Tel: 800-245-1656 | QF 16 | SL0075MVQF |  | 1 | 295 | 295
Fax:412-233-4200
21 | Manual ball valve | Industrial | PO Box 411128 | 70-105-01 | 1" NPT female | Pressure:600psi | 4 | 14.8 | 59.2
|  | Automation Ic. | Charlotte, NC 28241 | Apollo bronze | Standard port
Tel: 800-511-0100
Fax:704-504-2478
22 | Manual ball valve | Industrial | same as above | 70-104-01 | 3/4" NPT female | Pressure:600psi | 4 | 11.75 | 47
|  | Automation Ic. |  | Apollo bronze | Standard port
23 | Manual ball valve | Industrial | same as above | 70-103-01 | 1/2" NPT female | Pressure:600psi | 6 | 7.13 | 42.78
|  | Automation Ic. |  | Apollo bronze | Standard port
24 | Quick Clamp | Kurt J. Lesker | 1515 Worthington Ave. | QF16-075-C | QF10-16 | Aluminum | 10 | 5.5 | 55
|  |  | Clairton, PA 15025-2700 | QF25-100-C | QF25 |  | 10 | 7 | 70
|  |  | Tel: 1-800-245-1656 | QF40-150-C | QF40 |  | 5 | 8 | 40
Tel: 1-412-233-4200
25 | Center Rings | Kurt J. Lesker | same as above | QF10-050-ARB | QF10 | Aluminum | 5 | 2.5 | 12.5
|  |  |  | QF16-075-ARB | QF16 | Buna-N | 5 | 2.5 | 12.5
|  |  |  | QF25-100-ARB | QF25 |  | 5 | 3.5 | 17.5
|  |  |  | QF40-150-ARB | QF40 |  | 5 | 4.5 | 22.5
26 | O-Ring | Kurt J. Lesker | same as above | O-B314 | 0.21", 0.725" | Buna-N | 10 | 0.4 | 4
|  |  |  | O-B320 | 0.21", 1.1" |  | 10 | 0.6 | 6
|  |  |  | O-B326 | 0.21", 1.6 |  | 10 | 0.8 | 8
28 | Blank-off Flange | Kurt J. Lesker | same as above | QF10-050-AB | QF10 | Aluminum | 2 | 4.75 | 9.5
|  |  |  | QF16-075-AB | QF16 |  | 2 | 4.75 | 9.5
|  |  |  | QF25-100-AB | QF25 |  | 2 | 5.5 | 11
|  |  |  | QF40-150-AB | QF40 |  | 5 | 9 | 45
29 | Tees Fitting | Kurt J. Lesker | same as above | QF16-075-T | QF16 | Stainless Steel | 2 | 55 | 110
|  |  |  | QF25-100-T | QF25 |  | 2 | 60 | 120
30 | Adapter | Kurt J. Lesker | same as above | F0275XQF40 | CF2.75 to NW40 | Stainless Steel | 2 | 60 | 120
|  |  |  | F0275XQF25 | CF2.75 to NW25 |  | 2 | 55 | 110
31 | Adapter | Kurt J. Lesker | same as above | QF25XMNPT4 | QF to male NPT | Stainless Steel | 1 | 47 | 47
32 | Reducer Flange | Kurt J. Lesker | same as above | QF25XQF16 | QF25 to QF16 | Stainless Steel | 2 | 35 | 70
|  |  |  | RF450X275 | CF 4.5" to 2.75" | Stainless Steel | 1 | 75 | 75
33 | Copper Gasket | Kurt J. Lesker | same as above | GA-0275 |  |  | 10 | 1.5 | 15
|  |  |  | GA-0450 |  |  | 10 | 2 | 20
34 | Flexible Coupling | Kurt J. Lesker | same as above | MH-QF-B40 | 1.0" OD | Stainless Steel | 4 | 145 | 580
|  |  |  | MH-QF-C40 | 1.5" OD |  | 1 | 189 | 189
35 | SS tubes | Kurt J. Lesker |  |  | 1" OD, 3Ft. |  | 4 | 21 | 82
36 | Adapter & Fitting | Kurt J. Lesker |  |  | 1" OD |  | 4 | 35 | 140
37 | Aceton & Acid | Kurt J. Lesker |  |  | 1 liter |  | 1 | 50 | 50
38 | Indium Rings | American Indium | 1676 Lincoln Av. |  | 0.094" OD, 200g |  | 1 | 1786 | 1786
|  | Co. | Utica NY 13502
Tel: 315-853-4900
39 | Tool Box | Anyone |  |  | Standard |  | 2 | 120 | 240
40 | Temperature | Lake Shore | 575 McCorkle Blvd | Model 218S | Standard |  | 2 | 1615 | 3230
| Monitor | Cryogenics, Inc | Westerville, OH 43082 |  | 8 Channel
Tel: 614-891-2243
Fax: 614-891-1392
41 | Temp sensors | Lake Shore | same as above | DT470-SD-13 | Silicon Diode | Standard Cal | 12 | 175 | 2100
1.4-475K
42 | Temp sensors | Lake Shore | same as above | DT470-CU-13 | Silicon Diode | Precious Cal | 4 | 475 | 1900
1.4-475K
43 | Grease, Epoxy | Lake Shore |  |  | Cryogenics |  | 1 | 170, 256,97 | 523
| Cryogenic tape | [5 empty] | 1
44 | Electrical Fitting | Lake Shore |  |  | 19 Pin |  | 1 | 155 | 155
45 | Copper tubes | CMS |  |  | 7/8" OD, 50" |  | 2 | 85 | 170
46 | Torque wrench | McMaster |  |  | 7/8" OD, 50" |  | 1 | 350 | 350
47 | Wrench | McMaster |  |  | 1 1/2" and 1 5/16" |  | 2 | 30 | 60
48 | DAQ system | National Inst. | 11500 N Mopac Expwy | NI PCI-6110 | with BNC-2110 |  | 1 | 3385 | 3385
|  |  | Austin, TX 78759-3504 |  | Connector block
Tel: 888-280-7645
| Total | [7 empty] | 90000
Note on A1: ju:
Note on B100: ju: