3/3/2023

cal_daq64_mbd_tr _trigger_v0 - Copy_single_new_120MHz

MBD ADC FPGA code  version 1 subversion 133

Separate channel readout. New data format, 120 MHz pipeline readout

MBD trigger FPGA code

MBD_V1_133

cal_daq64_mbd_tr _trigger_v0 - Copy_single_new

MBD ADC FPGA code  version 1 subversion 133

Separate channel readout. New data format, 60 MHz pipeline readout

MBD trigger FPGA code

MBD_V1_132

cal_daq64_mbd_tr _trigger_v0 - Copy_single

MBD ADC FPGA code  version 1 subversion 128

Separate channel readout. old data format

MBD trigger FPGA code

MBD_V1_128

cal_daq64_emcal_tr _trigger_v0 - Copy_single_new

Calorimeter ADC FPGA code version 1 subversion 32

Separate channel readout. New data format, 60 MHz pipeline readout

Calorimeter trigger FPGA code

CAL_v1_32

cal_daq64_emcal_tr _trigger_v0 - Copy_single

Calorimeter ADC FPGA code version 1 subversion 28

Separate channel readout. old data format, 60 MHz pipeline readout

Calorimeter trigger FPGA code

CAL_v1_28